## 1
Below information are necessary for system design, please provide as much detail as possible, if multiple systems required, please fill system information in a separate page
No |  | Item | Unit | Description/SPEC | Remark
1 | Project Information | Name of customer
Type of customer
Project location
2 | Schedule | Date for proposal
Date for shipment
Date for installation
3 |  | Application
4 | Expected function | Description of expected system functions and working procedure
5 | Utility | Utility voltage | V
6 |  | Utility frequency | Hz
7 |  | Utility stability
| PV | Equivalent peak radiation time per day | h
8 |  | Installation type
9 |  | PV Capacity | kWp
10 |  | PV inverter tender
11 |  | PV inverter SPEC( if not from Growatt)
12 |  | PV module tender and spec | Wp
13 |  | PV Conbiner tender
14 | DG | Diesel Generator availability
15 |  | Diesel Generator capacity | kVA
16 |  | Diesel Generator control
17 |  | Diesel Generator conmunication
18 | Load | Peak load consumption | kW
19 |  | Load daily consumption | kWh
20 |  | Average load consumption | kW
21 |  | Load detail
22 | Battery | Battery type
23 |  | Backup time | h
24 |  | Battery tender
25 |  | Battery SPEC(battery not supplied by Growatt)
26 |  | Battery communication protocol(if battery is Li-ion and not supplied by Growatt)
27 | Installation | Installation environment
28 | Transformer | Voltage
|  | Capacity | kVA
Type
29 | Monitoring | Monitoring system
30 | Certification | Certification requirement
31 | Other | On-grid/off-grid seamless switch
32 |  | Warranty | years
33 |  | Other requirements
Stable
Not stable
No utility
Other:
Off-grid
on-grid
on-grid&off-grid
Rooftop
Ground
Hills
Other:
Yes
No
Automatical
Manual
Dry contact
RS232
RS485
Lead-acid battery
Lithium-Ion Phosphate battery
Lithium-Ion NCM battery
Outdoor
Indoor
Oil immersed
dry
Yes
No